## Formulas (hidden)
| Handicap Parking |  |  |  |  | DO NOT FORMAT THESE NUMBERS (LEAVE THEM GENERAL) BECAUSE IT PREVENTS THE MERGE FORMAT FROM WORKING
Merge Field | Comment | Site 1 | Site 2 | Site 3 | Site 4
#REF! | Total parking spaces | #REF! | #REF! | #REF! | #REF! | Values import from Inspector Sheet
| If statement for required disabled required up to 300 spaces. (Max. 7 nests allowed) | #REF! | #REF! | #REF! | #REF!
#REF! | More if statements or more than 300 total parking spaces. | #REF! | #REF! | #REF! | #REF!
#REF! | Number of van accessible spaces required until March 15, 2012 | #REF! | #REF! | #REF! | #REF! | Exports to $Merge-Pickme Sheet
#REF! | Number of van accessible spaces required after March 15, 2012 | #REF! | #REF! | #REF! | #REF! | Exports to $Merge-Pickme Sheet
Watts/SF
|  | Site 1 | Site 2 | Site 3 | Site 4 | DO NOT FORMAT THESE NUMBERS (LEAVE THEM GENERAL) BECAUSE IT PREVENTS THE MERGE FORMAT FROM WORKING
| Power Factor (Changeable) | 0.95 | 0.95 | 0.95 | 0.95
| Three Phase | [5 empty] | Three Phase |  | Three Phase Electrical Systems
Amps1 | amps | #REF! | #REF! | #REF! | #REF! | Values import from Inspector Sheet | 3002 | amps
Volts1 | volts | #REF! | #REF! | #REF! | #REF! | Values import from Inspector Sheet | 480 | volts | Enter capacity of the main panel | 3002 | amps
Amps1_Area | square foot | #REF! | #REF! | #REF! | #REF! | Values import from Inspector Sheet | 130000 | square foot GSF | Enter system voltage | 480 | volts
| kVA | #REF! | #REF! | #REF! | #REF! |  | 2492.8608 | kVA | Enter building area (s.f.) | 130000 | square foot
| kW | #REF! | #REF! | #REF! | #REF! | Uses above power factor | 0 | kW | Calculated system capacity | 2492.8608 | kVA
watts/sf1 | Watt/SF | #REF! | #REF! | #REF! | #REF! | Exports to $Merge-Pickme Sheet | 0 | watts per square foot | Calculated system capacity with power factor | 2118.9317 | kW
[9 empty] | Watts per Square Foot of Electrical System | 16.2995 | watts per square foot
| Single Phase | [5 empty] | Based on Transformer Rating
Amps1 | amps | #REF! | #REF! | #REF! | #REF! |  | Single Phase
Volts1 | volts | #REF! | #REF! | #REF! | #REF! |  | 0 | amps | Single Phase Electrical Systems
Amps1_Area | square foot | #REF! | #REF! | #REF! | #REF! |  | 0 | volts
| kVA | #REF! | #REF! | #REF! | #REF! |  | 0 | square foot GSF | Enter capacity of the main panel | 3001 | amps
| kW | #REF! | #REF! | #REF! | #REF! | Uses above power factor | 0 | kVA | Enter system voltage | 480 | volts
watts/sf1 | Watt/SF | #REF! | #REF! | #REF! | #REF! | Exports to $Merge-Pickme Sheet | 0 | kW | Enter building area (s.f.) | 125000 | square foot
[7 empty] | 0 | watts per square foot | Calculated system capacity | 1440.48 | kVA
| HVAC | [7 empty] | Calculated system capacity with power factor | 1224.408 | kW
|  | Site 1 | Site 2 | Site 3 | Site 4 |  |  |  | Watts per Square Foot of Electrical System | 9.7953 | watts per square foot
| SF/Ton | #REF! | #REF! | #REF! | #REF! | Calculations from values in Inspector Sheet
| Capacity | #REF! | #REF! | #REF! | #REF! | Exports to $Merge-Pickme Sheet

## Bid Form
BID FORM
Ionia County Administration Building Façade Restoration 2026
101 W Main Street Ionia, Michigan
Contractor:
Repair Item | Item Description | Units | Estimated Quantity | Unit Cost | Total
1 | East Entrance Arched Opeing - Repoint lower granite mortar joints. Gently remove delaminating layers of sandstone arch and repoint all sandstone arch mortar joints with PHL mortar. Gently wash all masonry in repair area. | LS | 1
2 | Southeast Corner Upper Wall Masonry - Repoint all stone and brick masonry between arch and top of second-floor window bay with Type N mortar. Replace damaged brick units and reconstruct loose and displaced masonry at SE corner. Gently wash all masonry in repair area. | SF | 250
3 | East Entrance Infilled Opening - Repair, seal, and recoat EIFS doorway infill with like-for-like texture. Seal perimeter to adjacent masonry. Color selected by owner. | LS | 1
4 | North Pediment Masonry and Flashing - Gently remove all spalling stone fragments and clean entrance sandstone with non-marring tools. Repoint all sandstone mortar joints above the entrance pilaster capitals with PHL mortar. Install lead weathercaps in pediment sky-facing joints and between the top of the pediment and the adjacent brick wall (approx. 16 LF total) . Repair and repoint all brick masonry between pediment and center second-floor sill and all other directly adjacent masonry, as required. Gently wash all masonry in repair area. | LS | 1
5 | North Basement Doors - Replace lower level HM doors and frames with frosted, tempered door lites and transom windows. Repair concrete jambs and headers, if required. Reinstall all salvageable hardware. Replace weatherstripping, sweeps, and raised threshold plates. Install exterior perimeter sealants. Paint doors and frames, color selected by owner. Excludes interior finishes and electronic latch/strike installation. | EA | 2
6 | North Foundation Wall Masonry - Repoint all granite mortar joints at and above lower level steps and landing with Type N mortar. Gently wash all masonry in repair area. | SF | 200
7 | West Lower Wall Masonry - Remove and discard concrete parking stops. Remove and reconstruct all damaged outer brick wythes within 36" of grade with Type N mortar. Remove all sand-lime bricks and reconstruct lower window openings' infill (3). Remove and discard exterior ductwork. Excludes replacement of damaged concealed brick wythes, if any. | LS | 1
8 | West Upper Wall Masonry - Remove and reconstruct all damaged outer brick wythes and cracks within 48" below top of wall with Type N mortar. Salvage and reinstall impacted roofing membrane termination and metal coping. Includes associated roof patching and repair as required for the work. Excludes replacement of damaged concealed brick wythes, if any. | LS | 1
10 | Allowance: West Wall Misc. Masonry Crack Repair - Stitch continuous mortar joint cracks with Helifix Heli-Bond wall ties. See A1 for cost to be paid per LF of stitch repair performed against the allowance. | ALLOW | 1 | 15000 | 15000
11 | Allowance: West Wall Misc. Mortar Repointing - Remove and repoint isolated deteriorated mortar. See A2 for cost to be paid per LF of mortar repair performed against the allowance. | ALLOW | 1 | 25000 | 25000
12 | Allowance: West Wall Misc. Brick Replacement - Replace isolated damaged brick units not included in lump sum Repair Items 7 and 8. Includes repair to concealed inner brick wythes, if required. See A3 for cost to be paid per brick unit installed against the allowance. | ALLOW | 1 | 12500 | 12500
13 | West Wall Paint Strip Test - Perform paint stripping testing to remove paint on masonry at an area near ground level at the southern side of the west wall (approximately 8' x 8' area minimum). Includes application of specified paint stripper, cleaning, and neutralizing. Work must be performed per Lead-Safe Repair, Renovation, and Painting protocol. | LS | 1
14 | West Wall Repainting - Thoroughly clean and wash the painted masonry wall surfaces and repaint with specified masonry primer and paint. Color selected by owner. Work must be performed per Lead-Safe Repair, Renovation, and Painting protocol. | SF | 3000
15 | West Wall Concrete Curb - Install 6" tall x 12" wide concrete curb along entire length of the wall, sloped to drain to the exterior. Install backer rod and silicone cove joint sealant between curb and reconstructed masonry wall. | LF | 90
16 | West Wall Vent Hoods - Replace existing through-wall ventilation hoods with similar stainless-steel hoods with dampers. Seal to wall. | EA | 3
Subtotal
MOB | Contractor Mobilization - (Max 5% of Subtotal, Paid in 1st Pay Application) | Percent | 1 | 5% | 0
GC | Contractor General Conditions - (Max 8% of Subtotal, Split Over Pay Applications) | Percent | 1 | 8% | 0
| Total |  |  |  | 0
Allowance Item | Allowance Description | Units | Estimated Quantity | Unit Cost | Total
A10 | Item 10 Allowance: West Wall Misc. Masonry Crack Repair Unit Cost - stitch continuous mortar joint cracks with Helifix Heli-Bond wall ties. Cost is per LF of stitch repair performed against the allowance total. | EA | 1
A11 | Item 11 Allowance: West Wall Misc. Mortar Repointing Unit Cost - Remove and repoint isolated deteriorated mortar. Cost is per LF of mortar repair performed against the allowance total. | LF | 1
A12 | Item 12 Allowance: West Wall Misc. Brick Replacement Unit Cost - Replace isolated damaged brick units not included in lump sum Repair Items 7 and 8. Cost is per new brick unit installed. Includes repair to concealed inner brick wythes, if required. See A3 for cost to be paid per brick unit installed against the allowance. | EA | 1
Alternate Item | Alternate Description | Units | Estimated Quantity | Unit Cost | Total
2A | Southeast Corner Upper Walls - Repoint all stone and brick masonry between arch and top of second-floor window bay with Type N mortar. Rebuild SE pilaster with new brick units. Gently wash all masonry in repair area. Fully clean and salvage all face brick units. Tightly palletize for future repair needs. Cost is instead of Item 2. | LS | 1
3A | East Entrance Infilled Opening - Remove EIFS doorway infill and replace with single-wythe modular brick units anchored to the backup wall. Fully grout collar joint. Install 30 lb. felt paper and repair wall sheathing and replace with plywood, if required. Cost is instead of Item 3. | LS | 1
7A | West Lower Wall Granite - Remove and reconstruct all damaged outer brick wythes within 36" above grade with rock-faced granite stone coursed to match adjacent north elevation, rather than brick. Repair includes all other related items described in Repair Item 7. Cost is instead of Item 7. | LS | 1
9A | West Arches and Crack Repair - Reconstruct rowlock brick segmental window arches, if destablized. Cost is per opening. | EA | 6
13A | West Wall Paint Stripping - Remove paint on all west elevation masonry if test paint stripping is successful. Includes application of specified paint stripper, cleaning, and neutralizing. Work must be performed per Lead-Safe Repair, Renovation, and Painting protocol. | SF | 3000
14A | West Wall Staining - Thoroughly clean, prepare, and wash the painted masonry wall surfaces and repaint with a vapor permeable potassium silicate stain instead of paint. Color selected by owner. Work must be performed per Lead-Safe Repair, Renovation, and Painting protocol. Cost is instead of Item 14 and in addition to Alt 13A, if selected. | SF | 3000
BIDDING & AWARD SCHEDULE
Documents Provided to Contractors: |  | 2026-07-21
Virtual Prebid Meeting 2 PM EST (Required): |  | 2026-07-29
Prebid Site Walk Meeting 2 PM EST (Recommended): |  | 2026-07-31
Written Questions to Architect Due 2 PM EST: |  | 2026-08-03
Bids Due 2 PM EST (Sealed - Deliver Two (2) Physical Copies In-Person or Certified Mail/Courier): |  | 2026-08-07
Anticipated Contract Award: |  | 2026-08-10
CONSTRUCTION SCHEDULE |  |  |  | PROPOSED SCHEDULE, IF DIFFERENT
On-Site Commencement Date: |  | 2026-08-31
Substantial Completion Date: |  | 2026-11-01
Duration: |  | 10 Weeks
Signature
Printed Name, Title
Date
Notes:
1. Bids valid for 60 days after submission.
2. Contractor responsible for all permits, licenses, and fees required by local jurisdictions.
3. Overtime costs are the responsibility of the Contractor.
4. Costs include all insurances as required by Owner.
5. Standard AIA A105 contract between Owner & Contractor will be issued.
6. Contractor to prepare and submit monthly standard AIA G702 Pay Request form and provide monthly quantity sheets for all unit price work items.
7. Refer to Restoration Drawings for full description of work items, work area limits, material, warranty and additional requirements.
8. Contractor to provide detailed mobilization schedule upon award of contract.
9. Quantities in Bid Form and repair locations are approximate and will be paid out at the actual quantities completed at the unit prices indicated.
10. Proposals must be received by Ionia County Administrator tprior to the indicated date and time. Late proposals will not be accepted.
11. All proposals must be sealed in physical envelopes, plainly labeled "Proposal for Ionia County Administration Building Façade Restoration Project."
12. All proposals will be opened publicly and read aloud at the Ionia County Administration Building, 3rd Floor Commissioners Board Room.

## FEMA (hidden)
| Error (Missing data) | Error (Missing data).
100 | Area in SFHA | This is an area inundated by 100-year flooding for which Base Flood Elevations (BFEs) or velocity may have been determined. No distinctions are made between the different flood hazard zones that may be included within the Special Flood Hazard Areas (SFHA).
100IC | 100-year Flood Discharge Contained in Channel | An area where the 100-year flooding is contained within the channel banks and the channel is too narrow to show to scale. An arbitrary channel width of 3 meters is shown.
A | Zone A | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A99 | Zone A99 | An area inundated by 100-year flooding, for which no Base Flood Elevations (BFEs) have been determined. This is an area to be protected from the 100-year flood by a Federal flood protection system under construction.
AE | Zone AE | An area inundated by 100-year flooding, for which Base Flood Elevations (BFEs) have been determined.
AH | Zone AH | An area inundated by 100-year flooding (usually an area of ponding), for which Base Flood Elevations (BFEs) have been determined; flood depths range from 1 to 3 feet.
ANI | Area Not Included | An area that is located within a community or county that is not mapped on any published FIRM.
AO | Zone O | An area inundated by 100-year flooding (usually sheet flow on sloping terrain), for which average depths have been determined; flood depths range from 1 to 3 feet.
AR | Zone AR | An area inundated by flooding, for which Base Flood Elevations (BFEs) or average depths have been determined.
B | Zone B | An area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile; or an area protected by levees from 100-year flooding.
BE | Zone BE | An area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile; or an area protected by levees from 100-year flooding.
BX | Zone BX | An area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile; or an area protected by levees from 100-year flooding.
C | Zone C | An area that is determined to be outside the 100- and 500-year floodplains.
CE | Zone CE | An area that is determined to be outside the 100- and 500-year floodplains.
CX | Zone CX | An area that is determined to be outside the 100- and 500-year floodplains.
D | Zone D | An area of undetermined but possible flood hazards.
FW | Floodway | An area that includes the channel of a river or other watercourse (Usually adjacent to Zone AE).
FWIC | Floodway Contained in Channel | An area where the floodway is contained within the channel banks and the channel is too narrow to show to scale. An arbitrary channel width of 3 meters is shown. Base Flood Elevations (BFEs) are not shown in this area, although they may be reflected on the corresponding profile
IN | Area In SFHA | This is an area inundated by 100-year flooding for which Base Flood Elevations (BFEs) or velocity may have been determined. No distinctions are made between the different flood hazard zones that may be included within the Special Flood Hazard Area (SFHA).
NM | Area Not Mapped | An area that is located within a community or county that is not mapped on any published FIRM.
OUT | Area Not Mapped | An area designated as outside a "Special Flood Hazard Area" (or SFHA) on a FIRM. This is an area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile
UNDES | Area of Undesignated Flood Hazard | A body of open water, such as a pond, lake ocean, etc., located within a community's jurisdictional limits, that has no defined flood hazard.
V | Zone V | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
VE | Zone VE | An area inundated by 100-year flooding with velocity hazard (wave action); Base Flood Elevations (BFEs) have been determined.
X | Zone X | Areas outside the 1-percent annual chance floodplain, areas of 1% annual chance sheet flow flooding where average depths are less than 1 foot, areas of 1% annual chance stream flooding where the contributing drainage area is less than 1 square mile, or areas protected from the 1% annual chance flood by levees. No Base Flood Elevations or depths are shown within this zone. Insurance purchase is not required in these zones.
X5 | Zone X (500-year) | An area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile; or an area protected by levees from 100-year flooding.
X500 | Zone X (500-year) | An area inundated by 500-year flooding; an area inundated by 100-year flooding with average depths of less than 1 foot or with drainage areas less than 1 square mile; or an area protected by levees from 100-year flooding.
X500IC | 500-year Flood Discharge Contained in Channel | An area where the 500-year flooding is contained within the channel banks and the channel is too narrow to show to scale. An arbitrary channel width of 3 meters is shown.
A1 | Zone A1 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A2 | Zone A2 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A3 | Zone A3 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A4 | Zone A4 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A5 | Zone A5 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A6 | Zone A6 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A7 | Zone A7 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A8 | Zone A8 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A9 | Zone A9 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A10 | Zone A10 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A11 | Zone A11 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A12 | Zone A12 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A13 | Zone A13 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A14 | Zone A14 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A15 | Zone A15 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A16 | Zone A16 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A17 | Zone A17 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A18 | Zone A18 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A19 | Zone A19 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A20 | Zone A20 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A21 | Zone A21 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A22 | Zone A22 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A23 | Zone A23 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A24 | Zone A24 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A25 | Zone A25 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A26 | Zone A26 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A27 | Zone A27 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A28 | Zone A28 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A29 | Zone A29 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
A30 | Zone A30 | An area inundated by 100 year flooding, for which no Base Flood Elevations (BFEs) have been established.
V0 | Zone V0 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V1 | Zone V1 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V2 | Zone V2 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V3 | Zone V3 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V4 | Zone V4 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V5 | Zone V5 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V6 | Zone V6 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V7 | Zone V7 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V8 | Zone V8 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V9 | Zone V9 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V10 | Zone V10 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V11 | Zone V11 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V12 | Zone V12 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V13 | Zone V13 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V14 | Zone V14 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V15 | Zone V15 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V16 | Zone V16 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V17 | Zone V17 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V18 | Zone V18 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V19 | Zone V19 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V20 | Zone V20 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V21 | Zone V21 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V22 | Zone V22 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V23 | Zone V23 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V24 | Zone V24 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V25 | Zone V25 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V26 | Zone V26 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V27 | Zone V27 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V28 | Zone V28 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V29 | Zone V29 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
V30 | Zone V30 | An area inundated by 100-year flooding with velocity hazard (wave action); no Base Flood Elevations (BFEs) have been determined.
Z | Area of Unknown Flood Hazard | An area of Data Discrepancy or an Unclaimed Area. Internal TFHC designation.
N | Area Not Mapped | An area that is located within a community or county that is not mapped on any published FIRM (Usually a community not participating in NFIP). Internal TFHC designation.
AR/A | Zone AR/A | An area inundated by flooding, for which Base Flood Elevations (BFEs) or average depths have not been determined.
AR/AE | Zone AR/AE | An area inundated by flooding, for which Base Flood Elevations (BFEs) or average depths have been determined.
AR/AE | Zone AR/AH | An area inundated by flooding, for which Base Flood Elevations (BFEs) or average depths have been determined.